# Open Joint Stock  Company

"MINSK ELECTROTECHNICAL PLANT

NAMED AFTER V.I.KOZLOV"

Department of foreign economic activity:

Тел./Факс: +375 17 398-92-58, 245-80-92

e-mail: oved@metz.by

QUESTIONNAIRE

to order a power oil transformer for oil production

1. Технические характеристики:

| 1.1 Transformer type (ТМПН, ТМПНГ и т.д.) |  |
| --- | --- |
| 1.2 Rated frequencyа |  | Гц |
| 1.3 Rated power |  | kVA |
| 1.4 Rated voltage HV |  | kV |
| 1.5 Rated voltage LV |  | kV |
| 1.6 Number of voltage regulation steps |  | % |
| 1.7 Voltages and currents on the branches of the winding __ __ HV, LV 1 2 3 4 5 6 7 8 9 voltages, V current, A 10 11 12 13 14 15 16 17 18 voltages, В current, A 19 20 21 22 23 24 25 26 27 voltages, В current, A 28 29 30 31 32 33 34 35 36 voltages, В current, A |
| 1.8 Short-circuit voltage at 75ºС (± 10%) (indicated if different from standard) |  | % |
| 1.9 Loss no-load (+ 15%) (indicated when different from the standard) |  | W |
| 1.10 Losses short-circuit at 75ºС (+ 10%) (indicated when different from standard) |  | W |
| 1.11 Winding connection/vector group |  |
| 1.12 Climatic modification and category of placement |  |
| 1.13 Degree of protection (indicated if different from IP00) |  |
| 1.14 Dimensions (max) (if different from those indicated in the product catalog): |
| length |  | mm width |  | mm height |  | mm |
| 1.15 Mass (+ 10%) (in case of limitation) |  | kg |
| 1.16 Design features: (type of tank - hard or corrugated tank, location of bushings - on the cover or side and other design features if necessary) |
| Notes: (including for transformers designed to operate as part of a frequency-controlled drive, indicate the frequency range and the law of voltage change depending on the frequency, the circuit in which the transformer will work, the presence of a harmonic filter, etc.) |

2. Contact person for negotiations:

FULL NAME.:

Tel.:

3. Country (city) of transformer supply: